## Cover
SWMM5 Lego Builder
Build • Validate • Simulate • Export
Browser-Based Stormwater Management Modeling Tool
Key Metrics
| Surface Types |  | 10
| Node Types |  | 5
| Link Types |  | 5
| Design Storms |  | 49
| Simulation Engines |  | 2
| Grid Sizes |  | 5 (20x20 to 50x50)
Sheet Index
| Surfaces | Surface types and hydrological properties
| Nodes | Node element types and descriptions
| Links | Link element types and descriptions
| Design Storms | Catalog of 49 international design storms
| Shortcuts | Keyboard shortcuts reference
| Workflow | 8-step workflow checklist
https://swmm-lego-model.replit.app/

## Surfaces
Surface Types
Surface | Description | Category | Curve No. | n-Imperv | n-Perv | Runoff Coeff
Grass | Natural pervious surface with standard infiltration | Pervious | 39 | 0.015 | 0.24 | 0.39
Roof | Impervious building roof surface | Impervious | 98 | 0.011 | 0.4 | 0.95
Road | Paved roadway with high imperviousness | Impervious | 98 | 0.013 | 0.4 | 0.95
Driveway | Residential paved surface | Impervious | 95 | 0.013 | 0.35 | 0.9
Sidewalk | Pedestrian walkway surface | Impervious | 98 | 0.013 | 0.4 | 0.95
LID Pond | Low Impact Development bioretention pond | Green Infrastructure | 70 | 0.015 | 0.2 | 0.6
Perm Pave | Permeable pavement system | Green Infrastructure | 75 | 0.015 | 0.22 | 0.65
Green Roof | Vegetated rooftop system | Green Infrastructure | 80 | 0.015 | 0.25 | 0.7
Rain Barrel | Rainwater harvesting system | Green Infrastructure | 85 | 0.015 | 0.28 | 0.75
Swale | Grassed drainage channel | Green Infrastructure | 65 | 0.015 | 0.18 | 0.55
Note: Parameters are based on SCS Curve Number method. Actual values may vary based on local conditions.

## Nodes
Node Elements
Node Type | Description | SWMM5 Equivalent
Manhole | Standard junction for pipe connections | [JUNCTIONS]
Inlet | Stormwater inlet for surface collection | [JUNCTIONS]
Outfall | System discharge point | [OUTFALLS]
Storage | Detention or retention facility | [STORAGE]
Divider | Flow splitting junction | [DIVIDERS]

## Links
Link Elements
Node Type | Description | SWMM5 Equivalent
Pipe | Closed conduit for underground flow | [CONDUITS]
Channel | Open channel for surface flow | [CONDUITS]
Pump | Mechanical flow lift station | [PUMPS]
Orifice | Controlled outlet structure | [ORIFICES]
Weir | Overflow or spillway structure | [WEIRS]

## Design Storms
Design Storms Catalog
49 Pre-configured Storms from International Standards
Storm Name | Region | Description
SCS Type II | United States | Standard US - ~95% of continental US
SCS Type III | United States | Wet climates with higher peak intensities
SCS Type I | United States | West Coast - lower intensity, longer duration
SCS Type IA | United States | Modified Type I for frozen ground
Balanced (Alt Block) | United States | Alternating block method
NOAA Atlas 14 | United States | Modern precipitation frequency estimates
Huff 1st Quartile | United States | Early peak temporal distribution
Huff 2nd Quartile | United States | Mid-early peak temporal distribution
Huff 3rd Quartile | United States | Mid-late peak temporal distribution
Huff 4th Quartile | United States | Late peak temporal distribution
USACE Standard Project | United States | US Army Corps of Engineers standard
PMP (HMR 51/52) | United States | Probable Maximum Precipitation
FDOT Zone 1 NW FL | United States | Florida DOT - Northwest Florida
FDOT Zone 2 NE FL | United States | Florida DOT - Northeast Florida
FDOT Zone 3 Central | United States | Florida DOT - Central Florida
FDOT Zone 4 SE FL | United States | Florida DOT - Southeast Florida
FDOT Zone 5 SW FL | United States | Florida DOT - Southwest Florida
TxDOT Empirical | United States | Texas DOT empirical method
UDFCD Denver | United States | Urban Drainage and Flood Control District
Triangular (UK FSR) | Europe | UK Flood Studies Report - triangular
Trapezoidal | Europe | Trapezoidal distribution
FSR Profile (75%) | Europe | UK FSR 75% winter profile
FEH Temporal | Europe | Flood Estimation Handbook temporal
Chicago Storm | Europe | Chicago hyetograph method
Desbordes | Europe | French Desbordes method
Desbordes Double Tri | Europe | French Desbordes double triangular
DWA-A 531 (Germany) | Europe | German DWA standard
Euler Type I (Germany) | Europe | German Euler Type I
Euler Type II (Germany) | Europe | German Euler Type II
Dutch STOWA | Europe | Netherlands STOWA standard
Italian Mediterranean | Europe | Italian Mediterranean method
Japan JMA | Asia Pacific | Japan Meteorological Agency
AMeDAS Convective | Asia Pacific | Japan AMeDAS convective storms
Baiu Frontal | Asia Pacific | Japan Baiu (rainy season) frontal
Japan Typhoon | Asia Pacific | Japan typhoon design storm
China Design Storm | Asia Pacific | China standard design storm
China GB 50014-2021 | Asia Pacific | China GB 50014-2021 standard
Pearl River Delta | Asia Pacific | China Pearl River Delta specific
India IMD Monsoon | Asia Pacific | India Meteorological Dept monsoon
India Coastal Cyclonic | Asia Pacific | India coastal cyclonic storms
Korea KMA Standard | Asia Pacific | Korea Meteorological Administration
Singapore PUB | Asia Pacific | Singapore PUB standard
Australian ARR | Asia Pacific | Australian Rainfall and Runoff
South African Huff | Other | South African Huff distribution
Canadian CDA/MTO | Other | Canadian CDA/MTO method
Block (Uniform) | Other | Uniform block distribution
Double Peak | Other | Double peak hyetograph
Yen & Chow Tri | Other | Yen and Chow triangular
Custom (Uniform) | Other | User-defined uniform distribution
Total: 49 Design Storms from 4 Regions

## Shortcuts
Keyboard Shortcuts
Shortcut | Action
Ctrl+Z | Undo last action
Space | Toggle Paint/Erase mode
Del | Activate erase mode
R | Run simulation
Esc | Close panels
1-9 | Select surface type (1=Grass, 2=Roof, etc.)
Shift+1-5 | Select node type (1=Manhole, 2=Inlet, etc.)
Q | Select Pipe link type
W | Select Channel link type
E | Select Pump link type

## Workflow
8-Step Workflow
Step | Action | Description
1 | Paint Surfaces | Select surface types and paint them onto the grid to represent land use
2 | Place Nodes | Add manholes, inlets, outfalls, storage, and dividers to the model
3 | Connect Links | Draw pipes, channels, pumps, orifices, and weirs to connect nodes
4 | Edit Properties | Right-click on any element to modify its hydraulic parameters
5 | Validate Model | Run the validation tool to check for errors and inconsistencies
6 | Fix Issues | Use the auto-fix feature or manually correct any identified problems
7 | Run Simulation | Execute either Quick Sim or EPA SWMM5 simulation
8 | Export Results | Save the model or export to .inp format for use in EPA SWMM5